Drifter : 36719

This report is composed of measurements taken from 20-Sep-2012 through 18-Mar-2013

Number of encounters: 134

Salinity Difference (DS) = Current Instrument's Salinity - Encountered Instrument's Salinity

DS mean = 0.0019

DS median = -0.0012

DS standard deviation = 0.0756

DS root mean square = 0.0753

# Figure 1

Figure 1: Bar Plot of encounters by instrument. A green bar indicated the number of encounters with an absolute salinity difference value of less than 1. A red bar shows the number of encounters where the absolute value of salinity difference is greater than 1.

# Figure 2

Figure 2: Scatter plot of all encounters. Horizontal axis is host instrument salinity value and vertical axis is encountered object's salinity value. The red line is a line correspondence from the host instrument with itself. Encounters are colored according to resulting salinity difference. The purpose of this plot is to highlight extreme outliers, therefore encounters with DS > ± 0.5 are colored yellow, and encounters with DS > ± 1 are colored red. Those encounters colored red are also indicated in Figure 3a.

# Figure 3

Figure 3a: Plot of salinity for the instrument. Time is indicated on the horizontal axis, with salinity on the vertical axis. Any encounters with DS > ± 1 from figure 1 is circled in red.

Figure 3b: Histogram of salinity differences for all encounters for the instrument. Salinity differences on the horizontal axis are in bins of 0.1 with all outlying encounters placed in the outer bins.

Figure 3c: Scatter plot of encounters in time for the instrument. The encounters are colored by instrument and located according to the date of encounter and resulting salinity difference. Red lines of ± 3 standard deviations are shown.